## Balance UASB
Fecha análisis | Día operación (d) | Reactor UASB
|  | TRH UASB (h) | Q UASB (L/h) | Entrada | [32 empty] | Salida | [32 empty] | Consumo | [43 empty] | Requerimientos nutricionales Reactor UASB
|  |  |  | DQO | CE | CED | NTK | CE | CED | N-NH4+ | CE | CED | N-N org. | CE | CED | N-NO2- | CE | CED | N-NO3- | CE | CED | NT | CE | CED | PT | CE | CED | P-PO43- | CE | CED | P-Porg | CE | CED | S-SO42- | CE | CED | DQO | CS | CSD | NTK | CS | CSD | N-NH4+ | CS | CSD | N-N org. | CS | CSD | N-NO2- | CS | CSD | N-NO3- | CS | CSD | NT | CS | CSD | PT | CS | CSD | P-PO43- | CS | CSD | P-Porg | CS | CSD | S-SO42- | CS | CSD | DQO (g/d) |  |  |  | NTK (g/d) |  |  |  | N-NH4+ (g/d) |  |  |  | N-N org. (g/d) |  |  |  | N-NO2- (g/d) |  |  |  | N-NO3- (g/d) |  |  |  | NT (g/d) |  |  |  | PT (g/d) |  |  |  | P-PO43- (g/d) |  |  |  | P-Porg (g/d) |  |  |  | S-SO42- (g/d)
|  |  |  | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | CED | CSD | CRD | %RD | CED | CSD | CRD | %RD | CED | CSD | CRD | %RD | CED | CSD | CRD | %RD | CED | CSD | CRD | %RD | CED | CSD | CRD | %RD | CED | CSD | CRD | %RD | CED | CSD | CRD | %RD | CED | CSD | CRD | %RD | CED | CSD | CRD | %RD | CED | CSD | CRD | %RD | C | N | P | S
30-NOV-18 | 56 | 6 | 19.8156 | 537 | 10640.9749 | 255.3834 | 51.6 | 1022.4847 | 24.5396 | 1.5 | 29.7234 | 0.71336 | 50.1 | 992.7613 | 23.8263 | 0.029 | 0.57465 | 0.013792 | 0.112 | 2.2193 | 0.053264 | 51.741 | 1025.2787 | 24.6067 | 7.06 | 139.8981 | 3.3576 | [9 empty] | 73.4 | 1454.4647 | 34.9072 | 37.3 | 739.1217 | 17.7389 | 29.8 | 590.5048 | 14.1721 | 7.5 | 148.617 | 3.5668 | 0.029 | 0.57465 | 0.013792 | 0.112 | 2.2193 | 0.053264 | 37.441 | 741.9157 | 17.806 | 6.45 | 127.8106 | 3.0675 | [9 empty] | 255.3834 | 34.9072 | 220.4762 | 86.3315 | 24.5396 | 17.7389 | 6.8007 | 27.7132 | 0.71336 | 14.1721 | -13.4588 | -1886.6667 | 23.8263 | 3.5668 | 20.2595 | 85.0299 | 0.013792 | 0.013792 | 0 | 0 | 0.053264 | 0.053264 | 0 | 0 | 24.6067 | 17.806 | 6.8007 | 27.6377 | 3.3576 | 3.0675 | 0.2901 | 8.6402 | [12 empty] | 350 | 10.7959 | 0.46053
06-DIC-18 | 62 | 6 | 19.8156 | 561 | 11116.5492 | 266.7972 | 55 | 1089.8578 | 26.1566 | 5.39 | 106.8061 | 2.5633 | 49.61 | 983.0517 | 23.5932 | 0.029 | 0.57465 | 0.013792 | 0.112 | 2.2193 | 0.053264 | 55.141 | 1092.6518 | 26.2236 | 6.08 | 120.4788 | 2.8915 | [9 empty] | 80.3 | 1591.1923 | 38.1886 | 36.4 | 721.2877 | 17.3109 | 36.2 | 717.3246 | 17.2158 | 0.2 | 3.9631 | 0.095115 | 0.029 | 0.57465 | 0.013792 | 0.112 | 2.2193 | 0.053264 | 36.541 | 724.0817 | 17.378 | 4.44 | 87.9812 | 2.1115 | [9 empty] | 266.7972 | 38.1886 | 228.6086 | 85.6863 | 26.1566 | 17.3109 | 8.8457 | 33.8182 | 2.5633 | 17.2158 | -14.6524 | -571.6141 | 23.5932 | 0.095115 | 23.4981 | 99.5969 | 0.013792 | 0.013792 | 0 | 0 | 0.053264 | 0.053264 | 0 | 0 | 26.2236 | 17.378 | 8.8457 | 33.7317 | 2.8915 | 2.1115 | 0.77994 | 26.9737 | [12 empty] | 350 | 13.5428 | 1.1941
18-ENE-19 | 104 | 6 | 19.8156 | 813 | 16110.0793 | 386.6419 | 93.3 | 1848.7951 | 44.3711 | 2.79 | 55.2855 | 1.3269 | 90.51 | 1793.5096 | 43.0442 | 0.029 | 0.57465 | 0.013792 | 0.112 | 2.2193 | 0.053264 | 93.441 | 1851.5891 | 44.4381 | 5.74 | 113.7415 | 2.7298 | [9 empty] | 151 | 2992.1549 | 71.8117 | 60.7 | 1202.8067 | 28.8674 | 49.9 | 988.7982 | 23.7312 | 10.8 | 214.0084 | 5.1362 | 0.029 | 0.57465 | 0.013792 | 0.112 | 2.2193 | 0.053264 | 60.841 | 1205.6007 | 28.9344 | 5.86 | 116.1194 | 2.7869 | [9 empty] | 386.6419 | 71.8117 | 314.8302 | 81.4268 | 44.3711 | 28.8674 | 15.5037 | 34.9411 | 1.3269 | 23.7312 | -22.4043 | -1688.5305 | 43.0442 | 5.1362 | 37.908 | 88.0676 | 0.013792 | 0.013792 | 0 | 0 | 0.053264 | 0.053264 | 0 | 0 | 44.4381 | 28.9344 | 15.5037 | 34.8883 | 2.7298 | 2.7869 | -0.057069 | -2.0906 | [12 empty] | 350 | 17.2356 | -0.063444
24-ENE-19 | 111 | 6 | 19.8156 | 896 | 17754.7737 | 426.1146 | 94.9 | 1880.5 | 45.132 | 3.94 | 78.0734 | 1.8738 | 90.96 | 1802.4266 | 43.2582 | 0.029 | 0.57465 | 0.013792 | 0.051 | 1.0106 | 0.024254 | 94.98 | 1882.0853 | 45.17 | 7.05 | 139.6999 | 3.3528 | 4.67 | 92.5388 | 2.2209 | 2.38 | 47.1611 | 1.1319 | 21.1 | 418.1091 | 10.0346 | 104 | 2060.8219 | 49.4597 | 49.1 | 972.9457 | 23.3507 | 41.8 | 828.2919 | 19.879 | 7.3 | 144.6538 | 3.4717 | 0.014 | 0.27742 | 0.006658 | 0.022 | 0.43594 | 0.010463 | 49.136 | 973.6591 | 23.3678 | 6.13 | 121.4696 | 2.9153 | 5.03 | 99.6724 | 2.3921 | 1.1 | 21.7972 | 0.52313 | 15.8 | 313.0864 | 7.5141 | 426.1146 | 49.4597 | 376.6548 | 88.3929 | 45.132 | 23.3507 | 21.7813 | 48.2613 | 1.8738 | 19.879 | -18.0052 | -960.9137 | 43.2582 | 3.4717 | 39.7865 | 91.9745 | 0.013792 | 0.006658 | 0.0071336 | 51.7241 | 0.024254 | 0.010463 | 0.013792 | 56.8627 | 45.17 | 23.3678 | 21.8022 | 48.267 | 3.3528 | 2.9153 | 0.43753 | 13.0496 | 2.2209 | 2.3921 | -0.17121 | -7.7088 | 1.1319 | 0.52313 | 0.60874 | 53.7815 | 10.0346 | 7.5141 | 2.5205 | 25.1185 | 350 | 20.2593 | 0.40657 | 2.3422
31-ENE-19 | 118 | 6 | 19.8156 | 472 | 9352.9612 | 224.4711 | 49.4 | 978.8904 | 23.4934 | 1.97 | 39.0367 | 0.93688 | 47.43 | 939.8537 | 22.5565 | 0.029 | 0.57465 | 0.013792 | 0.317 | 6.2815 | 0.15076 | 49.746 | 985.7466 | 23.6579 | 6.02 | 119.2899 | 2.863 | 6.03 | 119.488 | 2.8677 | -0.01 | -0.19816 | -0.0047557 |  |  |  | 101 | 2001.3752 | 48.033 | 43 | 852.0706 | 20.4497 | 37 | 733.177 | 17.5962 | 6 | 118.8936 | 2.8534 | 0.014 | 0.27742 | 0.006658 | 0.112 | 2.2193 | 0.053264 | 43.126 | 854.5674 | 20.5096 | 6.06 | 120.0825 | 2.882 | 5.98 | 118.4973 | 2.8439 | 0.08 | 1.5852 | 0.038046 |  |  |  | 224.4711 | 48.033 | 176.4381 | 78.6017 | 23.4934 | 20.4497 | 3.0437 | 12.9555 | 0.93688 | 17.5962 | -16.6594 | -1778.1726 | 22.5565 | 2.8534 | 19.703 | 87.3498 | 0.013792 | 0.006658 | 0.0071336 | 51.7241 | 0.15076 | 0.053264 | 0.097493 | 64.6688 | 23.6579 | 20.5096 | 3.1483 | 13.3076 | 2.863 | 2.882 | -0.019023 | -0.66445 | 2.8677 | 2.8439 | 0.023779 | 0.82919 | -0.0047557 | 0.038046 | -0.042802 | 900 |  |  |  |  | 350 | 6.2453 | -0.037736
07-FEB-19 | 125 | 6 | 19.8156 | 443 | 8778.3089 | 210.6794 | 44.8 | 887.7387 | 21.3057 | 1.2 | 23.7787 | 0.57069 | 43.6 | 863.96 | 20.735 | 0.029 | 0.57465 | 0.013792 | 0.305 | 6.0438 | 0.14505 | 45.134 | 894.3571 | 21.4646 | 6.7 | 132.7645 | 3.1863 | 6.6 | 130.7829 | 3.1388 | 0.1 | 1.9816 | 0.047557 |  |  |  | 110 | 2179.7155 | 52.3132 | 42.1 | 834.2366 | 20.0217 | 34.3 | 679.6749 | 16.3122 | 7.8 | 154.5616 | 3.7095 | 0.029 | 0.57465 | 0.013792 | 0.112 | 2.2193 | 0.053264 | 42.241 | 837.0306 | 20.0887 | 6.8 | 134.7461 | 3.2339 | 6.75 | 133.7553 | 3.2101 | 0.05 | 0.99078 | 0.023779 |  |  |  | 210.6794 | 52.3132 | 158.3662 | 75.1693 | 21.3057 | 20.0217 | 1.2841 | 6.0268 | 0.57069 | 16.3122 | -15.7415 | -2758.3333 | 20.735 | 3.7095 | 17.0256 | 82.1101 | 0.013792 | 0.013792 | 0 | 0 | 0.14505 | 0.053264 | 0.091786 | 63.2787 | 21.4646 | 20.0887 | 1.3758 | 6.4098 | 3.1863 | 3.2339 | -0.047557 | -1.4925 | 3.1388 | 3.2101 | -0.071336 | -2.2727 | 0.047557 | 0.023779 | 0.023779 | 50 |  |  |  |  | 350 | 3.0407 | -0.10511
07-MAR-19 | 153 | 6 | 19.8156 | 430 | 8520.7061 | 204.4969 | 55.8 | 1105.7102 | 26.537 | [6 empty] | 0.029 | 0.57465 | 0.013792 | 0.112 | 2.2193 | 0.053264 | 55.941 | 1108.5042 | 26.6041 | 5.84 | 115.7231 | 2.7774 | 5.38 | 106.6079 | 2.5586 | 0.46 | 9.1152 | 0.21876 | 24.5 | 485.4821 | 11.6516 | 47.2 | 935.2961 | 22.4471 | 33 | 653.9147 | 15.694 | [6 empty] | 0.029 | 0.57465 | 0.013792 | 0.112 | 2.2193 | 0.053264 | 33.141 | 656.7087 | 15.761 | 4.62 | 91.5481 | 2.1972 | 4.42 | 87.5849 | 2.102 | 0.2 | 3.9631 | 0.095115 | 6.22 | 123.253 | 2.9581 | 204.4969 | 22.4471 | 182.0498 | 89.0233 | 26.537 | 15.694 | 10.8431 | 40.8602 | [8 empty] | 0.013792 | 0.013792 | 0 | 0 | 0.053264 | 0.053264 | 0 | 0 | 26.6041 | 15.761 | 10.8431 | 40.7572 | 2.7774 | 2.1972 | 0.5802 | 20.8904 | 2.5586 | 2.102 | 0.45655 | 17.8439 | 0.21876 | 0.095115 | 0.12365 | 56.5217 | 11.6516 | 2.9581 | 8.6935 | 74.6122 | 350 | 20.8464 | 1.1155 | 16.7137
14-MAR-19 | 160 | 6 | 19.8156 | 598 | 11849.7262 | 284.3934 | 58.8 | 1165.157 | 27.9638 | 1.65 | 32.6957 | 0.7847 | 57.15 | 1132.4613 | 27.1791 | 0.029 | 0.57465 | 0.013792 | 0.112 | 2.2193 | 0.053264 | 58.941 | 1167.951 | 28.0308 | 11.8 | 233.824 | 5.6118 | 9.07 | 179.7275 | 4.3135 | 2.73 | 54.0966 | 1.2983 | 4.59 | 90.9536 | 2.1829 | 72.1 | 1428.7044 | 34.2889 | 45.8 | 907.5543 | 21.7813 | 41.2 | 816.4025 | 19.5937 | 4.6 | 91.1517 | 2.1876 | 0.029 | 0.57465 | 0.013792 | 0.112 | 2.2193 | 0.053264 | 45.941 | 910.3483 | 21.8484 | 9.51 | 188.4463 | 4.5227 | 9.07 | 179.7275 | 4.3135 | 0.44 | 8.7189 | 0.20925 | 4.59 | 90.9536 | 2.1829 | 284.3934 | 34.2889 | 250.1045 | 87.9431 | 27.9638 | 21.7813 | 6.1825 | 22.1088 | 0.7847 | 19.5937 | -18.809 | -2396.9697 | 27.1791 | 2.1876 | 24.9914 | 91.951 | 0.013792 | 0.013792 | 0 | 0 | 0.053264 | 0.053264 | 0 | 0 | 28.0308 | 21.8484 | 6.1825 | 22.056 | 5.6118 | 4.5227 | 1.0891 | 19.4068 | 4.3135 | 4.3135 | 0 | 0 | 1.2983 | 0.20925 | 1.0891 | 83.8828 | 2.1829 | 2.1829 | 0 | 0 | 350 | 8.6518 | 1.5241
22-MAR-19 | 168 | 6 | 19.8156 | 807 | 15991.1857 | 383.7885 | 69.3 | 1373.2208 | 32.9573 | 1.89 | 37.4515 | 0.89884 | 67.41 | 1335.7693 | 32.0585 | 0.029 | 0.57465 | 0.013792 | 0.112 | 2.2193 | 0.053264 | 69.441 | 1376.0148 | 33.0244 | 12.7 | 251.6581 | 6.0398 | 7.81 | 154.7598 | 3.7142 | 4.89 | 96.8983 | 2.3256 | 20 | 396.3119 | 9.5115 | 87.2 | 1727.9199 | 41.4701 | 53.2 | 1054.1897 | 25.3006 | 47.6 | 943.2224 | 22.6373 | 5.6 | 110.9673 | 2.6632 | 0.029 | 0.57465 | 0.013792 | 0.112 | 2.2193 | 0.053264 | 53.341 | 1056.9837 | 25.3676 | 10.4 | 206.0822 | 4.946 | 7.66 | 151.7875 | 3.6429 | 2.74 | 54.2947 | 1.3031 | 10 | 198.156 | 4.7557 | 383.7885 | 41.4701 | 342.3184 | 89.1945 | 32.9573 | 25.3006 | 7.6567 | 23.2323 | 0.89884 | 22.6373 | -21.7385 | -2418.5185 | 32.0585 | 2.6632 | 29.3952 | 91.6926 | 0.013792 | 0.013792 | 0 | 0 | 0.053264 | 0.053264 | 0 | 0 | 33.0244 | 25.3676 | 7.6567 | 23.1851 | 6.0398 | 4.946 | 1.0938 | 18.1102 | 3.7142 | 3.6429 | 0.071336 | 1.9206 | 2.3256 | 1.3031 | 1.0225 | 43.9673 | 9.5115 | 4.7557 | 4.7557 | 50 | 350 | 7.8286 | 1.1184 | 4.8625
28-MAR-19 | 174 | 6 | 19.8156 | 668 | 13236.8179 | 317.6836 | 66.2 | 1311.7924 | 31.483 | 2.75 | 54.4929 | 1.3078 | 63.45 | 1257.2995 | 30.1752 | 0.587 | 11.6318 | 0.27916 | 0.302 | 5.9843 | 0.14362 | 67.089 | 1329.4085 | 31.9058 | 11.4 | 225.8978 | 5.4215 | 10.9 | 215.99 | 5.1838 | 0.5 | 9.9078 | 0.23779 | 22.9 | 453.7771 | 10.8907 | 130 | 2576.0274 | 61.8247 | 54.1 | 1072.0237 | 25.7286 | 47.8 | 947.1855 | 22.7325 | 6.3 | 124.8383 | 2.9961 | 0.029 | 0.57465 | 0.013792 | 0.112 | 2.2193 | 0.053264 | 54.241 | 1074.8177 | 25.7956 | 9.9 | 196.1744 | 4.7082 | 9.88 | 195.7781 | 4.6987 | 0.02 | 0.39631 | 0.0095115 | 8.64 | 171.2067 | 4.109 | 317.6836 | 61.8247 | 255.859 | 80.5389 | 31.483 | 25.7286 | 5.7544 | 18.2779 | 1.3078 | 22.7325 | -21.4246 | -1638.1818 | 30.1752 | 2.9961 | 27.1791 | 90.0709 | 0.27916 | 0.013792 | 0.26537 | 95.0596 | 0.14362 | 0.053264 | 0.090359 | 62.9139 | 31.9058 | 25.7956 | 6.1102 | 19.1507 | 5.4215 | 4.7082 | 0.71336 | 13.1579 | 5.1838 | 4.6987 | 0.48509 | 9.3578 | 0.23779 | 0.0095115 | 0.22828 | 96 | 10.8907 | 4.109 | 6.7817 | 62.2707 | 350 | 8.3584 | 0.97584 | 9.277
04-ABR-19 | 181 | 6 | 19.8156 | 627 | 12424.3785 | 298.1851 | 60.2 | 1192.8989 | 28.6296 | [6 empty] | 0.029 | 0.57465 | 0.013792 | 0.112 | 2.2193 | 0.053264 | 60.341 | 1195.6929 | 28.6966 | 11.2 | 221.9347 | 5.3264 | 12 | 237.7871 | 5.7069 | -0.8 | -15.8525 | -0.38046 | 20 | 396.3119 | 9.5115 | 198 | 3923.4879 | 94.1637 | 55.4 | 1097.784 | 26.3468 | [6 empty] | 0.029 | 0.57465 | 0.013792 | 0.112 | 2.2193 | 0.053264 | 55.541 | 1100.578 | 26.4139 | 10.6 | 210.0453 | 5.0411 | 11.1 | 219.9531 | 5.2789 | -0.5 | -9.9078 | -0.23779 | 5.77 | 114.336 | 2.7441 | 298.1851 | 94.1637 | 204.0214 | 68.4211 | 28.6296 | 26.3468 | 2.2828 | 7.9734 | [8 empty] | 0.013792 | 0.013792 | 0 | 0 | 0.053264 | 0.053264 | 0 | 0 | 28.6966 | 26.4139 | 2.2828 | 7.9548 | 5.3264 | 5.0411 | 0.28534 | 5.3571 | 5.7069 | 5.2789 | 0.42802 | 7.5 | -0.38046 | -0.23779 | -0.14267 | 37.5 | 9.5115 | 2.7441 | 6.7674 | 71.15 | 350 | 3.9161 | 0.48951 | 11.6096
11-ABR-19 | 188 | 6 | 19.8156 | 675 | 13375.5271 | 321.0126 | 68 | 1347.4605 | 32.3391 | 3.89 | 77.0827 | 1.85 | 64.11 | 1270.3778 | 30.4891 | 0.029 | 0.57465 | 0.013792 | 0.112 | 2.2193 | 0.053264 | 68.141 | 1350.2545 | 32.4061 | 5.85 | 115.9212 | 2.7821 | 7.81 | 154.7598 | 3.7142 | -1.96 | -38.8386 | -0.93213 |  |  |  | 183 | 3626.254 | 87.0301 | 48.2 | 955.1117 | 22.9227 | 37.3 | 739.1217 | 17.7389 | 10.9 | 215.99 | 5.1838 | 0.029 | 0.57465 | 0.013792 | 0.112 | 2.2193 | 0.053264 | 48.341 | 957.9057 | 22.9897 | 9.08 | 179.9256 | 4.3182 | 9.02 | 178.7367 | 4.2897 | 0.06 | 1.1889 | 0.028534 |  |  |  | 321.0126 | 87.0301 | 233.9826 | 72.8889 | 32.3391 | 22.9227 | 9.4164 | 29.1176 | 1.85 | 17.7389 | -15.8889 | -858.8689 | 30.4891 | 5.1838 | 25.3053 | 82.998 | 0.013792 | 0.013792 | 0 | 0 | 0.053264 | 0.053264 | 0 | 0 | 32.4061 | 22.9897 | 9.4164 | 29.0574 | 2.7821 | 4.3182 | -1.5361 | -55.2137 | 3.7142 | 4.2897 | -0.57544 | -15.493 | -0.93213 | 0.028534 | -0.96066 | 103.0612 |  |  |  |  | 350 | 14.0854 | -2.2978
25-ABR-19 | 202 | 6 | 19.8156 | 631 | 12503.6409 | 300.0874 | 61.6 | 1220.6407 | 29.2954 | 1.75 | 34.6773 | 0.83226 | 59.85 | 1185.9634 | 28.4631 | 0.029 | 0.57465 | 0.013792 | 0.112 | 2.2193 | 0.053264 | 61.741 | 1223.4347 | 29.3624 | 11.2 | 221.9347 | 5.3264 | 7.81 | 154.7598 | 3.7142 | 3.39 | 67.1749 | 1.6122 |  |  |  | 120 | 2377.8715 | 57.0689 | 58.8 | 1165.157 | 27.9638 | 49.6 | 982.8535 | 23.5885 | 9.2 | 182.3035 | 4.3753 | 0.029 | 0.57465 | 0.013792 | 0.112 | 2.2193 | 0.053264 | 58.941 | 1167.951 | 28.0308 | 10.3 | 204.1006 | 4.8984 | 7.66 | 151.7875 | 3.6429 | 2.64 | 52.3132 | 1.2555 |  |  |  | 300.0874 | 57.0689 | 243.0185 | 80.9826 | 29.2954 | 27.9638 | 1.3316 | 4.5455 | 0.83226 | 23.5885 | -22.7562 | -2734.2857 | 28.4631 | 4.3753 | 24.0878 | 84.6282 | 0.013792 | 0.013792 | 0 | 0 | 0.053264 | 0.053264 | 0 | 0 | 29.3624 | 28.0308 | 1.3316 | 4.5351 | 5.3264 | 4.8984 | 0.42802 | 8.0357 | 3.7142 | 3.6429 | 0.071336 | 1.9206 | 1.6122 | 1.2555 | 0.35668 | 22.1239 |  |  |  |  | 350 | 1.9178 | 0.61644
02-MAY-19 | 209 | 6 | 19.8156 | 627.54 | 12435.0789 | 298.4419 | 63.76 | 1263.4424 | 30.3226 | 2.61 | 51.7187 | 1.2412 | 61.15 | 1211.7237 | 29.0814 | 0.029 | 0.57465 | 0.013792 | 0.112 | 2.2193 | 0.053264 | 63.901 | 1266.2364 | 30.3897 | 8.36 | 165.6584 | 3.9758 | 7.81 | 154.7598 | 3.7142 | 0.55 | 10.8986 | 0.26157 |  |  |  | 180 | 3566.8072 | 85.6034 | 56.2 | 1113.6365 | 26.7273 | 42.6 | 844.1444 | 20.2595 | 13.6 | 269.4921 | 6.4678 | 0.029 | 0.57465 | 0.013792 | 0.112 | 2.2193 | 0.053264 | 56.341 | 1116.4305 | 26.7943 | 9.88 | 195.7781 | 4.6987 | 7.66 | 151.7875 | 3.6429 | 2.22 | 43.9906 | 1.0558 |  |  |  | 298.4419 | 85.6034 | 212.8385 | 71.3166 | 30.3226 | 26.7273 | 3.5953 | 11.857 | 1.2412 | 20.2595 | -19.0182 | -1532.1839 | 29.0814 | 6.4678 | 22.6136 | 77.7596 | 0.013792 | 0.013792 | 0 | 0 | 0.053264 | 0.053264 | 0 | 0 | 30.3897 | 26.7943 | 3.5953 | 11.8308 | 3.9758 | 4.6987 | -0.72287 | -18.1818 | 3.7142 | 3.6429 | 0.071336 | 1.9206 | 0.26157 | 1.0558 | -0.79421 | -303.6364 |  |  |  |  | 350 | 5.9123 | -1.1887
16-MAY-19 | 223 | 6 | 19.8156 | 627.54 | 12435.0789 | 298.4419 | 63.76 | 1263.4424 | 30.3226 | 2.61 | 51.7187 | 1.2412 | 61.15 | 1211.7237 | 29.0814 | 0.029 | 0.57465 | 0.013792 | 0.112 | 2.2193 | 0.053264 | 63.901 | 1266.2364 | 30.3897 | 8.36 | 165.6584 | 3.9758 | 7.81 | 154.7598 | 3.7142 | 0.55 | 10.8986 | 0.26157 |  |  |  | 230 | 4557.587 | 109.3821 | 59.9 | 1186.9542 | 28.4869 | 29.4 | 582.5785 | 13.9819 | 30.5 | 604.3757 | 14.505 | 0.029 | 0.57465 | 0.013792 | 0.112 | 2.2193 | 0.053264 | 60.041 | 1189.7482 | 28.554 | 4.52 | 89.5665 | 2.1496 | 7.66 | 151.7875 | 3.6429 | -3.14 | -62.221 | -1.4933 |  |  |  | 298.4419 | 109.3821 | 189.0598 | 63.3489 | 30.3226 | 28.4869 | 1.8357 | 6.054 | 1.2412 | 13.9819 | -12.7406 | -1026.4368 | 29.0814 | 14.505 | 14.5764 | 50.1226 | 0.013792 | 0.013792 | 0 | 0 | 0.053264 | 0.053264 | 0 | 0 | 30.3897 | 28.554 | 1.8357 | 6.0406 | 3.9758 | 2.1496 | 1.8262 | 45.933 | 3.7142 | 3.6429 | 0.071336 | 1.9206 | 0.26157 | -1.4933 | 1.7549 | 670.9091 |  |  |  |  | 350 | 3.3984 | 3.3808
23-MAY-19 | 230 | 6 | 19.8156 | 627.54 | 12435.0789 | 298.4419 | 63.76 | 1263.4424 | 30.3226 | 2.61 | 51.7187 | 1.2412 | 61.15 | 1211.7237 | 29.0814 | 0.029 | 0.57465 | 0.013792 | 0.112 | 2.2193 | 0.053264 | 63.901 | 1266.2364 | 30.3897 | 8.36 | 165.6584 | 3.9758 | 7.81 | 154.7598 | 3.7142 | 0.55 | 10.8986 | 0.26157 |  |  |  | 124.48 | 2466.6453 | 59.1995 | 48.88 | 968.5863 | 23.2461 | 40.35 | 799.5593 | 19.1894 | 8.53 | 169.027 | 4.0566 | 0.029 | 0.57465 | 0.013792 | 0.112 | 2.2193 | 0.053264 | 49.021 | 971.3803 | 23.3131 | 7.64 | 151.3912 | 3.6334 | 7.66 | 151.7875 | 3.6429 | -0.02 | -0.39631 | -0.0095115 |  |  |  | 298.4419 | 59.1995 | 239.2424 | 80.1638 | 30.3226 | 23.2461 | 7.0765 | 23.3375 | 1.2412 | 19.1894 | -17.9482 | -1445.977 | 29.0814 | 4.0566 | 25.0247 | 86.0507 | 0.013792 | 0.013792 | 0 | 0 | 0.053264 | 0.053264 | 0 | 0 | 30.3897 | 23.3131 | 7.0765 | 23.286 | 3.9758 | 3.6334 | 0.34241 | 8.6124 | 3.7142 | 3.6429 | 0.071336 | 1.9206 | 0.26157 | -0.0095115 | 0.27108 | 103.6364 |  |  |  |  | 350 | 10.3526 | 0.50093

## Balance FTBR
Fecha análisis | Día operación (d) | Fotobiorreactor
|  | TRH FBTR (h) | Q FTBR (L/h) | Entrada | [32 empty] | Salida | [32 empty] | Consumo | [43 empty] | Requerimientos nutricionales
|  |  |  | DQO | CE | CED | NTK | CE | CED | N-NH4+ | CE | CED | N-N org. | CE | CED | N-NO2- | CE | CED | N-NO3- | CE | CED | NT | CE | CED | PT | CE | CED | P-PO43- | CE | CED | P-Porg | CE | CED | S-SO42- | CE | CED | DQO | CS | CSD | NTK | CS | CSD | N-NH4+ | CS | CSD | N-N org. | CS | CSD | N-NO2- | CS | CSD | N-NO3- | CS | CSD | NT | CS | CSD | PT | CS | CSD | P-PO43- | CS | CSD | P-Porg | CS | CSD | S-SO42- | CS | CSD | DQO (g/d) |  |  |  | NTK (g/d) |  |  |  | N-NH4+ (g/d) |  |  |  | N-N org. (g/d) |  |  |  | N-NO2- (g/d) |  |  |  | N-NO3- (g/d) |  |  |  | NT (g/d) |  |  |  | PT (g/d) |  |  |  | P-PO43- (g/d) |  |  |  | P-Porg (g/d) |  |  |  | S-SO42- (g/d)
|  |  |  | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | mg/L | mg/h | g/d | CED | CSD | CRD | %RD | CED | CSD | CRD | %RD | CED | CSD | CRD | %RD | CED | CSD | CRD | %RD | CED | CSD | CRD | %RD | CED | CSD | CRD | %RD | CED | CSD | CRD | %RD | CED | CSD | CRD | %RD | CED | CSD | CRD | %RD | CED | CSD | CRD | %RD | CED | CSD | CRD | %RD | C | N | P | S
30-NOV-18 | 56 | 24 | 2.0988
06-DIC-18 | 62 | 24 | 2.0988
18-ENE-19 | 104 | 24 | 2.0988
24-ENE-19 | 111 | 24 | 2.0988
31-ENE-19 | 118 | 24 | 2.0988
07-FEB-19 | 125 | 24 | 2.0988
07-MAR-19 | 153 | 24 | 2.0988 | 47.2 | 99.0634 | 2.3775 | 33 | 69.2604 | 1.6622 | 0 | 0 | 0 | 33 | 69.2604 | 1.6622 | 0.029 | 0.060865 | 0.0014608 | 0.112 | 0.23507 | 0.0056416 | 33.141 | 69.5563 | 1.6694 | 4.62 | 9.6965 | 0.23271 | 4.42 | 9.2767 | 0.22264 | 0.2 | 0.41976 | 0.010074 | 6.22 | 13.0545 | 0.31331 | 60.7 | 127.3972 | 3.0575 | 8.45 | 17.7349 | 0.42564 |  | 0 | 0 | 8.45 | 17.7349 | 0.42564 | 30.1 | 63.1739 | 1.5162 | 0.592 | 1.2425 | 0.02982 | 39.142 | 82.1512 | 1.9716 | 4.84 | 10.1582 | 0.2438 | 4.14 | 8.689 | 0.20854 | 0.7 | 1.4692 | 0.03526 | 40 | 83.952 | 2.0148 | 2.3775 | 3.0575 | -0.68001 | -28.6017 | 1.6622 | 0.42564 | 1.2366 | 74.3939 |  |  |  |  | 1.6622 | 0.42564 | 1.2366 | 74.3939 | 0.0014608 | 1.5162 | -1.5147 | -103693.1034 | 0.0056416 | 0.02982 | -0.024178 | -428.5714 | 1.6694 | 1.9716 | -0.30228 | -18.1075 | 0.23271 | 0.2438 | -0.011082 | -4.7619 | 0.22264 | 0.20854 | 0.014104 | 6.3348 | 0.010074 | 0.03526 | -0.025186 | -250 | 0.31331 | 2.0148 | -1.7015 | -543.0868 | 100 | 44.4519 | 1.6296 | 250.2222
14-MAR-19 | 160 | 24 | 2.0988 | 72.1 | 151.3235 | 3.6318 | 45.8 | 96.125 | 2.307 | 41.2 | 86.4706 | 2.0753 | 4.6 | 9.6545 | 0.23171 | 0.029 | 0.060865 | 0.0014608 | 0.112 | 0.23507 | 0.0056416 | 45.941 | 96.421 | 2.3141 | 9.51 | 19.9596 | 0.47903 | 9.07 | 19.0361 | 0.45687 | 0.44 | 0.92347 | 0.022163 | 4.59 | 9.6335 | 0.2312 | 32 | 67.1616 | 1.6119 | 5.39 | 11.3125 | 0.2715 | 1.96 | 4.1136 | 0.098728 | 3.43 | 7.1989 | 0.17277 | 35.3 | 74.0876 | 1.7781 | 0.112 | 0.23507 | 0.0056416 | 40.802 | 85.6352 | 2.0552 | 7.3 | 15.3212 | 0.36771 | 7.03 | 14.7546 | 0.35411 | 0.27 | 0.56668 | 0.0136 | 44.7 | 93.8164 | 2.2516 | 3.6318 | 1.6119 | 2.0199 | 55.6172 | 2.307 | 0.2715 | 2.0355 | 88.2314 | 2.0753 | 0.098728 | 1.9766 | 95.2427 | 0.23171 | 0.17277 | 0.058934 | 25.4348 | 0.0014608 | 1.7781 | -1.7766 | -121624.1379 | 0.0056416 | 0.0056416 | 0 | 0 | 2.3141 | 2.0552 | 0.25886 | 11.1861 | 0.47903 | 0.36771 | 0.11132 | 23.2387 | 0.45687 | 0.35411 | 0.10276 | 22.4917 | 0.022163 | 0.0136 | 0.0085631 | 38.6364 | 0.2312 | 2.2516 | -2.0204 | -873.8562 | 100 | 12.8155 | 5.5112 | -100.0249
22-MAR-19 | 168 | 24 | 2.0988 | 87.2 | 183.0154 | 4.3924 | 53.2 | 111.6562 | 2.6797 | 47.6 | 99.9029 | 2.3977 | 5.6 | 11.7533 | 0.28208 | 0.029 | 0.060865 | 0.0014608 | 0.112 | 0.23507 | 0.0056416 | 53.341 | 111.9521 | 2.6869 | 10.4 | 21.8275 | 0.52386 | 7.66 | 16.0768 | 0.38584 | 2.74 | 5.7507 | 0.13802 | 10 | 20.988 | 0.50371 | 46.3 | 97.1744 | 2.3322 | 2.96 | 6.2124 | 0.1491 | 0.99 | 2.0778 | 0.049867 | 1.97 | 4.1346 | 0.099231 |  | 0 | 0 |  | 0 | 0 | 2.96 | 6.2124 | 0.1491 | 9.4 | 19.7287 | 0.47349 |  | 0 | 0 | 9.4 | 19.7287 | 0.47349 | 29.7 | 62.3344 | 1.496 | 4.3924 | 2.3322 | 2.0602 | 46.9037 | 2.6797 | 0.1491 | 2.5306 | 94.4361 | 2.3977 | 0.049867 | 2.3478 | 97.9202 | 0.28208 | 0.099231 | 0.18285 | 64.8214 | 0.0014608 | 0 | 0.0014608 | 100 | 0.0056416 | 0 | 0.0056416 | 100 | 2.6869 | 0.1491 | 2.5378 | 94.4508 | 0.52386 | 0.47349 | 0.050371 | 9.6154 | [8 empty] | 0.50371 | 1.496 | -0.99231 | -197 | 100 | 123.1809 | 2.445 | -48.1663
28-MAR-19 | 174 | 24 | 2.0988 | 130 | 272.844 | 6.5483 | 54.1 | 113.5451 | 2.7251 | 47.8 | 100.3226 | 2.4077 | 6.3 | 13.2224 | 0.31734 | 0.029 | 0.060865 | 0.0014608 | 0.112 | 0.23507 | 0.0056416 | 54.241 | 113.841 | 2.7322 | 9.9 | 20.7781 | 0.49867 | 9.88 | 20.7361 | 0.49767 | 0.02 | 0.041976 | 0.0010074 | 8.64 | 18.1336 | 0.43521 | 38.9 | 81.6433 | 1.9594 | 18.4 | 38.6179 | 0.92683 | 16 | 33.5808 | 0.80594 | 2.4 | 5.0371 | 0.12089 | 34.5 | 72.4086 | 1.7378 | 3.9 | 8.1853 | 0.19645 | 56.8 | 119.2118 | 2.8611 | 9.84 | 20.6522 | 0.49565 | 9.65 | 20.2534 | 0.48608 | 0.19 | 0.39877 | 0.0095705 | 32.6 | 68.4209 | 1.6421 | 6.5483 | 1.9594 | 4.5888 | 70.0769 | 2.7251 | 0.92683 | 1.7983 | 65.9889 | 2.4077 | 0.80594 | 1.6018 | 66.5272 | 0.31734 | 0.12089 | 0.19645 | 61.9048 | 0.0014608 | 1.7378 | -1.7363 | -118865.5172 | 0.0056416 | 0.19645 | -0.19081 | -3382.1429 | 2.7322 | 2.8611 | -0.1289 | -4.7178 | 0.49867 | 0.49565 | 0.0030223 | 0.60606 | 0.49767 | 0.48608 | 0.011585 | 2.3279 | 0.0010074 | 0.0095705 | -0.0085631 | -850 | 0.43521 | 1.6421 | -1.2069 | -277.3148 | 100 | -2.809 | 0.065862 | -26.3008
04-ABR-19 | 181 | 24 | 2.0988 | 198 | 415.5624 | 9.9735 | 55.4 | 116.2735 | 2.7906 | 0 | 0 | 0 | 55.4 | 116.2735 | 2.7906 | 0.029 | 0.060865 | 0.0014608 | 0.112 | 0.23507 | 0.0056416 | 55.541 | 116.5695 | 2.7977 | 10.6 | 22.2473 | 0.53393 | 11.1 | 23.2967 | 0.55912 | -0.5 | -1.0494 | -0.025186 | 5.77 | 12.1101 | 0.29064 | 36.7 | 77.026 | 1.8486 | 18.1 | 37.9883 | 0.91172 | 1.09 | 2.2877 | 0.054905 | 17.01 | 35.7006 | 0.85681 | 10.4 | 21.8275 | 0.52386 | 12.8 | 26.8646 | 0.64475 | 41.3 | 86.6804 | 2.0803 | 10.1 | 21.1979 | 0.50875 | 10.2 | 21.4078 | 0.51379 | -0.1 | -0.20988 | -0.0050371 | 30.4 | 63.8035 | 1.5313 | 9.9735 | 1.8486 | 8.1249 | 81.4646 | 2.7906 | 0.91172 | 1.8788 | 67.3285 |  |  |  |  | 2.7906 | 0.85681 | 1.9338 | 69.296 | 0.0014608 | 0.52386 | -0.5224 | -35762.069 | 0.0056416 | 0.64475 | -0.63911 | -11328.5714 | 2.7977 | 2.0803 | 0.71734 | 25.6405 | 0.53393 | 0.50875 | 0.025186 | 4.717 | 0.55912 | 0.51379 | 0.045334 | 8.1081 | -0.025186 | -0.0050371 | -0.020148 | 80 | 0.29064 | 1.5313 | -1.2406 | -426.8631 | 100 | 8.8289 | 0.30998 | -15.2697
11-ABR-19 | 188 | 24 | 2.0988 | 183 | 384.0804 | 9.2179 | 48.2 | 101.1622 | 2.4279 | 37.3 | 78.2852 | 1.8788 | 10.9 | 22.8769 | 0.54905 | 0.029 | 0.060865 | 0.0014608 | 0.112 | 0.23507 | 0.0056416 | 48.341 | 101.4581 | 2.435 | 9.08 | 19.0571 | 0.45737 | 9.02 | 18.9312 | 0.45435 | 0.06 | 0.12593 | 0.0030223 | 0 | 0 | 0 | 26.9 | 56.4577 | 1.355 | 4.56 | 9.5705 | 0.22969 | 1.18 | 2.4766 | 0.059438 | 3.38 | 7.0939 | 0.17025 | 4.5 | 9.4446 | 0.22667 | 50.6 | 106.1993 | 2.5488 | 59.66 | 125.2144 | 3.0051 | 11.2 | 23.5066 | 0.56416 | 10.8 | 22.667 | 0.54401 | 0.4 | 0.83952 | 0.020148 |  |  |  | 9.2179 | 1.355 | 7.8629 | 85.3005 | 2.4279 | 0.22969 | 2.1982 | 90.5394 | 1.8788 | 0.059438 | 1.8194 | 96.8365 | 0.54905 | 0.17025 | 0.37879 | 68.9908 | 0.0014608 | 0.22667 | -0.22521 | -15417.2414 | 0.0056416 | 2.5488 | -2.5431 | -45078.5714 | 2.435 | 3.0051 | -0.57015 | -23.4149 | 0.45737 | 0.56416 | -0.10679 | -23.348 | 0.45435 | 0.54401 | -0.089661 | -19.7339 | 0.0030223 | 0.020148 | -0.017126 | -566.6667 |  |  |  |  | 100 | -7.2511 | -1.3581
25-ABR-19 | 202 | 24 | 2.0988 | 120 | 251.856 | 6.0445 | 58.8 | 123.4094 | 2.9618 | 49.6 | 104.1005 | 2.4984 | 9.2 | 19.309 | 0.46342 | 0.029 | 0.060865 | 0.0014608 | 0.112 | 0.23507 | 0.0056416 | 58.941 | 123.7054 | 2.9689 | 10.3 | 21.6176 | 0.51882 | 7.88 | 16.5385 | 0.39693 | 2.64 | 5.5408 | 0.13298 | 0 | 0 | 0 | 24.5 | 51.4206 | 1.2341 | 4.54 | 9.5286 | 0.22869 | 0.99 | 2.0778 | 0.049867 | 3.55 | 7.4507 | 0.17882 | 2 | 4.1976 | 0.10074 | 47.5 | 99.693 | 2.3926 | 54.04 | 113.4192 | 2.7221 | 10.4 | 21.8275 | 0.52386 | 10.2 | 21.4078 | 0.51379 | 0.2 | 0.41976 | 0.010074 |  |  |  | 6.0445 | 1.2341 | 4.8104 | 79.5833 | 2.9618 | 0.22869 | 2.7331 | 92.2789 | 2.4984 | 0.049867 | 2.4485 | 98.004 | 0.46342 | 0.17882 | 0.2846 | 61.413 | 0.0014608 | 0.10074 | -0.099282 | -6796.5517 | 0.0056416 | 2.3926 | -2.387 | -42310.7143 | 2.9689 | 2.7221 | 0.24687 | 8.3151 | 0.51882 | 0.52386 | -0.0050371 | -0.97087 | 0.39693 | 0.51379 | -0.11686 | -29.4416 | 0.13298 | 0.010074 | 0.12291 | 92.4242 |  |  |  |  | 100 | 5.1319 | -0.10471
02-MAY-19 | 209 | 24 | 2.0988 | 180 | 377.784 | 9.0668 | 56.2 | 117.9526 | 2.8309 | 42.6 | 89.4089 | 2.1458 | 13.6 | 28.5437 | 0.68505 | 0.029 | 0.060865 | 0.0014608 | 0.112 | 0.23507 | 0.0056416 | 56.341 | 118.2485 | 2.838 | 9.88 | 20.7361 | 0.49767 | 7.66 | 16.0768 | 0.38584 | 2.22 | 4.6593 | 0.11182 | 0 | 0 | 0 | 30 | 62.964 | 1.5111 | 3.97 | 8.3322 | 0.19997 | 0.99 | 2.0778 | 0.049867 | 2.98 | 6.2544 | 0.15011 | 0.14 | 0.29383 | 0.007052 | 54.7 | 114.8044 | 2.7553 | 58.81 | 123.4304 | 2.9623 | 10.8 | 22.667 | 0.54401 | 6.97 | 14.6286 | 0.35109 | 3.83 | 8.0384 | 0.19292 |  |  |  | 9.0668 | 1.5111 | 7.5557 | 83.3333 | 2.8309 | 0.19997 | 2.6309 | 92.9359 | 2.1458 | 0.049867 | 2.0959 | 97.6761 | 0.68505 | 0.15011 | 0.53494 | 78.0882 | 0.0014608 | 0.007052 | -0.0055912 | -382.7586 | 0.0056416 | 2.7553 | -2.7497 | -48739.2857 | 2.838 | 2.9623 | -0.12437 | -4.3822 | 0.49767 | 0.54401 | -0.046342 | -9.3117 | 0.38584 | 0.35109 | 0.034756 | 9.0078 | 0.11182 | 0.19292 | -0.081098 | -72.5225 |  |  |  |  | 100 | -1.646 | -0.61333
16-MAY-19 | 223 | 24 | 2.0988 | 230 | 482.724 | 11.5854 | 59.9 | 125.7181 | 3.0172 | 29.4 | 61.7047 | 1.4809 | 30.5 | 64.0134 | 1.5363 | 0.029 | 0.060865 | 0.0014608 | 0.112 | 0.23507 | 0.0056416 | 60.041 | 126.0141 | 3.0243 | 4.52 | 9.4866 | 0.22768 | 7.66 | 16.0768 | 0.38584 | -3.14 | -6.5902 | -0.15817 | 0 | 0 | 0 | 84.2 | 176.719 | 4.2413 | 4.84 | 10.1582 | 0.2438 | 1.77 | 3.7149 | 0.089157 | 3.07 | 6.4433 | 0.15464 | 0.029 | 0.060865 | 0.0014608 | 33.8 | 70.9394 | 1.7025 | 38.669 | 81.1585 | 1.9478 | 6.79 | 14.2509 | 0.34202 | 6.3 | 13.2224 | 0.31734 | 0.49 | 1.0284 | 0.024682 |  |  |  | 11.5854 | 4.2413 | 7.3441 | 63.3913 | 3.0172 | 0.2438 | 2.7734 | 91.9199 | 1.4809 | 0.089157 | 1.3918 | 93.9796 | 1.5363 | 0.15464 | 1.3817 | 89.9344 | 0.0014608 | 0.0014608 | 0 | 0 | 0.0056416 | 1.7025 | -1.6969 | -30078.5714 | 3.0243 | 1.9478 | 1.0765 | 35.5957 | 0.22768 | 0.34202 | -0.11434 | -50.2212 | 0.38584 | 0.31734 | 0.068505 | 17.7546 | -0.15817 | 0.024682 | -0.18285 | 115.6051 |  |  |  |  | 100 | 14.6584 | -1.5569
23-MAY-19 | 230 | 24 | 2.0988 | 124.48 | 261.2586 | 6.2702 | 48.88 | 102.5893 | 2.4621 | 40.35 | 84.6866 | 2.0325 | 8.53 | 17.9028 | 0.42967 | 0.029 | 0.060865 | 0.0014608 | 0.112 | 0.23507 | 0.0056416 | 49.021 | 102.8853 | 2.4692 | 7.64 | 16.0348 | 0.38484 | 7.66 | 16.0768 | 0.38584 | -0.02 | -0.041976 | -0.0010074 | 0 | 0 | 0 | 43.5 | 91.2978 | 2.1911 | 19.5 | 40.9266 | 0.98224 | 14.8 | 31.0622 | 0.74549 | 4.7 | 9.8644 | 0.23674 | 3.47 | 7.2828 | 0.17479 | 6.85 | 14.3768 | 0.34504 | 29.82 | 62.5862 | 1.5021 | 4.12 | 8.6471 | 0.20753 | 4.11 | 8.6261 | 0.20703 | 0.01 | 0.020988 | 0.00050371 |  |  |  | 6.2702 | 2.1911 | 4.0791 | 65.0546 | 2.4621 | 0.98224 | 1.4799 | 60.1064 | 2.0325 | 0.74549 | 1.287 | 63.3209 | 0.42967 | 0.23674 | 0.19292 | 44.9004 | 0.0014608 | 0.17479 | -0.17333 | -11865.5172 | 0.0056416 | 0.34504 | -0.3394 | -6016.0714 | 2.4692 | 1.5021 | 0.96718 | 39.1689 | 0.38484 | 0.20753 | 0.17731 | 46.0733 | 0.38584 | 0.20703 | 0.17882 | 46.3446 | -0.0010074 | 0.00050371 | -0.0015111 | 150 |  |  |  |  | 100 | 23.7108 | 4.3468
30-MAY-19 | 237 | 24 | 2.0988 | 78.2 | 164.1262 | 3.939 | 7.93 | 16.6435 | 0.39944 | 3.33 | 6.989 | 0.16774 | 4.6 | 9.6545 | 0.23171 | 0.03 | 0.062964 | 0.0015111 | 0.11 | 0.23087 | 0.0055408 | 8.07 | 16.9373 | 0.4065 | 1.41 | 2.9593 | 0.071023 | [9 empty] | 36 | 75.5568 | 1.8134 | 0.99 | 2.0778 | 0.049867 | 0.99 | 2.0778 | 0.049867 | 0 | 0 | 0 | 0.965 | 2.0253 | 0.048608 | 3.91 | 8.2063 | 0.19695 | 5.865 | 12.3095 | 0.29543 | 0.945 | 1.9834 | 0.047601 | [9 empty] | 3.939 | 1.8134 | 2.1257 | 53.9642 | 0.39944 | 0.049867 | 0.34958 | 87.5158 | 0.16774 | 0.049867 | 0.11787 | 70.2703 | 0.23171 | 0 | 0.23171 | 100 | 0.0015111 | 0.048608 | -0.047097 | -3116.6667 | 0.0055408 | 0.19695 | -0.19141 | -3454.5455 | 0.4065 | 0.29543 | 0.11107 | 27.3234 | 0.071023 | 0.047601 | 0.023423 | 32.9787 | [12 empty] | 101 | 5.2774 | 1.1129
06-JUN-19 | 243 | 24 | 2.0988 | 41.3 | 86.6804 | 2.0803 | 10.4 | 21.8275 | 0.52386 | 2.79 | 5.8557 | 0.14054 | 7.61 | 15.9719 | 0.38332 | 0.03 | 0.062964 | 0.0015111 | 0.11 | 0.23087 | 0.0055408 | 10.54 | 22.1214 | 0.53091 | 0.896 | 1.8805 | 0.045133 | [9 empty] | 9.99 | 20.967 | 0.50321 | 4.75 | 9.9693 | 0.23926 | 0.99 | 2.0778 | 0.049867 | 3.76 | 7.8915 | 0.1894 | 0.251 | 0.5268 | 0.012643 | 3.08 | 6.4643 | 0.15514 | 8.081 | 16.9604 | 0.40705 | 0.433 | 0.90878 | 0.021811 | [9 empty] | 2.0803 | 0.50321 | 1.5771 | 75.8111 | 0.52386 | 0.23926 | 0.2846 | 54.3269 | 0.14054 | 0.049867 | 0.090668 | 64.5161 | 0.38332 | 0.1894 | 0.19393 | 50.5913 | 0.0015111 | 0.012643 | -0.011132 | -736.6667 | 0.0055408 | 0.15514 | -0.1496 | -2700 | 0.53091 | 0.40705 | 0.12386 | 23.3302 | 0.045133 | 0.021811 | 0.023322 | 51.6741 | [12 empty] | 102 | 8.0108 | 1.5083

## Balance Sistema
Fecha análisis | Día operación (d) | Balance general del sistema híbrido
Consumo
|  | DQO (g/d) |  |  |  |  | NTK (g/d) |  |  |  |  | N-NH4+ (g/d) |  |  |  |  | N-N org. (g/d) |  |  |  |  | N-NO2- (g/d) |  |  |  |  | N-NO3- (g/d) |  |  |  |  | NT (g/d) |  |  |  |  | PT (g/d) |  |  |  |  | P-PO43- (g/d) |  |  |  |  | P-Porg (g/d) |  |  |  |  | S-SO42- (g/d)
|  | CED | CSDUASB | CSDFTBR | CRD | %RD | CED | CSDUASB | CSDFTBR | CRD | %RD | CED | CSDUASB | CSDFTBR | CRD | %RD | CED | CSDUASB | CSDFTBR | CRD | %RD | CED | CSDUASB | CSDFTBR | CRD | %RD | CED | CSDUASB | CSDFTBR | CRD | %RD | CED | CSDUASB | CSDFTBR | CRD | %RD | CED | CSDUASB | CSDFTBR | CRD | %RD | CED | CSDUASB | CSDFTBR | CRD | %RD | CED | CSDUASB | CSDFTBR | CRD | %RD | CED | CSDUASB | CSDFTBR | CRD | %RD
30-NOV-18 | 56 | 255.3834 | 34.9072 | 0 | 220.4762 | 86.3315 | 24.5396 | 17.7389 | 0 | 6.8007 | 27.7132 | 0.71336 | 14.1721 | 0 | -13.4588 | -1886.6667 | 23.8263 | 3.5668 | 0 | 20.2595 | 85.0299 | 0.013792 | 0.013792 | 0 | 0 | 0 | 0.053264 | 0.053264 | 0 | 0 | 0 | 24.6067 | 17.806 | 0 | 6.8007 | 27.6377 | 3.3576 | 3.0675 | 0 | 0.2901 | 8.6402
06-DIC-18 | 62 | 266.7972 | 38.1886 | 0 | 228.6086 | 85.6863 | 26.1566 | 17.3109 | 0 | 8.8457 | 33.8182 | 2.5633 | 17.2158 | 0 | -14.6524 | -571.6141 | 23.5932 | 0.095115 | 0 | 23.4981 | 99.5969 | 0.013792 | 0.013792 | 0 | 0 | 0 | 0.053264 | 0.053264 | 0 | 0 | 0 | 26.2236 | 17.378 | 0 | 8.8457 | 33.7317 | 2.8915 | 2.1115 | 0 | 0.77994 | 26.9737
18-ENE-19 | 104 | 386.6419 | 71.8117 | 0 | 314.8302 | 81.4268 | 44.3711 | 28.8674 | 0 | 15.5037 | 34.9411 | 1.3269 | 23.7312 | 0 | -22.4043 | -1688.5305 | 43.0442 | 5.1362 | 0 | 37.908 | 88.0676 | 0.013792 | 0.013792 | 0 | 0 | 0 | 0.053264 | 0.053264 | 0 | 0 | 0 | 44.4381 | 28.9344 | 0 | 15.5037 | 34.8883 | 2.7298 | 2.7869 | 0 | -0.057069 | -2.0906
24-ENE-19 | 111 | 426.1146 | 49.4597 | 0 | 376.6548 | 88.3929 | 45.132 | 23.3507 | 0 | 21.7813 | 48.2613 | 1.8738 | 19.879 | 0 | -18.0052 | -960.9137 | 43.2582 | 3.4717 | 0 | 39.7865 | 91.9745 | 0.013792 | 0.006658 | 0 | 0.0071336 | 51.7241 | 0.024254 | 0.010463 | 0 | 0.013792 | 56.8627 | 45.17 | 23.3678 | 0 | 21.8022 | 48.267 | 3.3528 | 2.9153 | 0 | 0.43753 | 13.0496 | 2.2209 | 2.3921 | 0 | -0.17121 | -7.7088 | 1.1319 | 0.52313 | 0 | 0.60874 | 53.7815 | 10.0346 | 7.5141 | 0 | 2.5205 | 25.1185
31-ENE-19 | 118 | 224.4711 | 48.033 | 0 | 176.4381 | 78.6017 | 23.4934 | 20.4497 | 0 | 3.0437 | 12.9555 | 0.93688 | 17.5962 | 0 | -16.6594 | -1778.1726 | 22.5565 | 2.8534 | 0 | 19.703 | 87.3498 | 0.013792 | 0.006658 | 0 | 0.0071336 | 51.7241 | 0.15076 | 0.053264 | 0 | 0.097493 | 64.6688 | 23.6579 | 20.5096 | 0 | 3.1483 | 13.3076 | 2.863 | 2.882 | 0 | -0.019023 | -0.66445 | 2.8677 | 2.8439 | 0 | 0.023779 | 0.82919 | -0.0047557 | 0.038046 | 0 | -0.042802 | 900
07-FEB-19 | 125 | 210.6794 | 52.3132 | 0 | 158.3662 | 75.1693 | 21.3057 | 20.0217 | 0 | 1.2841 | 6.0268 | 0.57069 | 16.3122 | 0 | -15.7415 | -2758.3333 | 20.735 | 3.7095 | 0 | 17.0256 | 82.1101 | 0.013792 | 0.013792 | 0 | 0 | 0 | 0.14505 | 0.053264 | 0 | 0.091786 | 63.2787 | 21.4646 | 20.0887 | 0 | 1.3758 | 6.4098 | 3.1863 | 3.2339 | 0 | -0.047557 | -1.4925 | 3.1388 | 3.2101 | 0 | -0.071336 | -2.2727 | 0.047557 | 0.023779 | 0 | 0.023779 | 50
07-MAR-19 | 153 | 204.4969 | 22.4471 | 3.0575 | 178.9923 | 87.5281 | 26.537 | 15.694 | 0.42564 | 10.4175 | 39.2563 | [10 empty] | 0.013792 | 0.013792 | 1.5162 | -1.5162 | -10993.4099 | 0.053264 | 0.053264 | 0.02982 | -0.02982 | -55.9845 | 26.6041 | 15.761 | 1.9716 | 8.8715 | 33.3462 | 2.7774 | 2.1972 | 0.2438 | 0.3364 | 12.1124 | 2.5586 | 2.102 | 0.20854 | 0.24801 | 9.6934 | 0.21876 | 0.095115 | 0.03526 | 0.088389 | 40.404 | 11.6516 | 2.9581 | 2.0148 | 6.6787 | 57.3197
14-MAR-19 | 160 | 284.3934 | 34.2889 | 1.6119 | 248.4926 | 87.3764 | 27.9638 | 21.7813 | 0.2715 | 5.911 | 21.1379 | 0.7847 | 19.5937 | 0.098728 | -18.9077 | -2409.5513 | 27.1791 | 2.1876 | 0.17277 | 24.8187 | 91.3153 | 0.013792 | 0.013792 | 1.7781 | -1.7781 | -12892.6036 | 0.053264 | 0.053264 | 0.0056416 | -0.0056416 | -10.5917 | 28.0308 | 21.8484 | 2.0552 | 4.1272 | 14.7239 | 5.6118 | 4.5227 | 0.36771 | 0.72136 | 12.8543 | 4.3135 | 4.3135 | 0.35411 | -0.35411 | -8.2094 | 1.2983 | 0.20925 | 0.0136 | 1.0755 | 82.8353 | 2.1829 | 2.1829 | 2.2516 | -2.2516 | -103.1475
22-MAR-19 | 168 | 383.7885 | 41.4701 | 2.3322 | 339.9862 | 88.5869 | 32.9573 | 25.3006 | 0.1491 | 7.5076 | 22.7799 | 0.89884 | 22.6373 | 0.049867 | -21.7884 | -2424.0665 | 32.0585 | 2.6632 | 0.099231 | 29.296 | 91.3831 | 0.013792 | 0.013792 | 0 | 0 | 0 | 0.053264 | 0.053264 | 0 | 0 | 0 | 33.0244 | 25.3676 | 0.1491 | 7.5076 | 22.7337 | 6.0398 | 4.946 | 0.47349 | 0.62033 | 10.2707 | 3.7142 | 3.6429 | 0 | 0.071336 | 1.9206 | 2.3256 | 1.3031 | 0 | 1.0225 | 43.9673 | 9.5115 | 4.7557 | 1.496 | 3.2597 | 34.2714
28-MAR-19 | 174 | 317.6836 | 61.8247 | 1.9594 | 253.8995 | 79.9221 | 31.483 | 25.7286 | 0.92683 | 4.8276 | 15.334 | 1.3078 | 22.7325 | 0.80594 | -22.2306 | -1699.806 | 30.1752 | 2.9961 | 0.12089 | 27.0582 | 89.6703 | 0.27916 | 0.013792 | 1.7378 | -1.4724 | -527.4483 | 0.14362 | 0.053264 | 0.19645 | -0.10609 | -73.8658 | 31.9058 | 25.7956 | 2.8611 | 3.2491 | 10.1834 | 5.4215 | 4.7082 | 0.49565 | 0.21771 | 4.0156 | 5.1838 | 4.6987 | 0.48608 | -0.0009963 | -0.01922 | 0.23779 | 0.0095115 | 0.0095705 | 0.21871 | 91.9752 | 10.8907 | 4.109 | 1.6421 | 5.1396 | 47.1927
04-ABR-19 | 181 | 298.1851 | 94.1637 | 1.8486 | 202.1727 | 67.8011 | 28.6296 | 26.3468 | 0.91172 | 1.371 | 4.7889 | [10 empty] | 0.013792 | 0.013792 | 0.52386 | -0.52386 | -3798.3875 | 0.053264 | 0.053264 | 0.64475 | -0.64475 | -1210.4751 | 28.6966 | 26.4139 | 2.0803 | 0.20243 | 0.7054 | 5.3264 | 5.0411 | 0.50875 | -0.2234 | -4.1943 | 5.7069 | 5.2789 | 0.51379 | -0.085769 | -1.5029 | -0.38046 | -0.23779 | -0.0050371 | -0.13764 | 36.176 | 9.5115 | 2.7441 | 1.5313 | 5.2361 | 55.0507
11-ABR-19 | 188 | 321.0126 | 87.0301 | 1.355 | 232.6276 | 72.4668 | 32.3391 | 22.9227 | 0.22969 | 9.1867 | 28.4074 | 1.85 | 17.7389 | 0.059438 | -15.9484 | -862.0818 | 30.4891 | 5.1838 | 0.17025 | 25.1351 | 82.4396 | 0.013792 | 0.013792 | 0.22667 | -0.22667 | -1643.533 | 0.053264 | 0.053264 | 2.5488 | -2.5488 | -4785.1595 | 32.4061 | 22.9897 | 3.0051 | 6.4112 | 19.784 | 2.7821 | 4.3182 | 0.56416 | -2.1003 | -75.4917 | 3.7142 | 4.2897 | 0.54401 | -1.1195 | -30.1396 | -0.93213 | 0.028534 | 0.020148 | -0.98081 | 105.2228
25-ABR-19 | 202 | 300.0874 | 57.0689 | 1.2341 | 241.7844 | 80.5713 | 29.2954 | 27.9638 | 0.22869 | 1.1029 | 3.7648 | 0.83226 | 23.5885 | 0.049867 | -22.8061 | -2740.2776 | 28.4631 | 4.3753 | 0.17882 | 23.909 | 84 | 0.013792 | 0.013792 | 0.10074 | -0.10074 | -730.4591 | 0.053264 | 0.053264 | 2.3926 | -2.3926 | -4491.9975 | 29.3624 | 28.0308 | 2.7221 | -1.3905 | -4.7355 | 5.3264 | 4.8984 | 0.52386 | -0.095844 | -1.7994 | 3.7142 | 3.6429 | 0.51379 | -0.44245 | -11.9123 | 1.6122 | 1.2555 | 0.010074 | 0.34661 | 21.499
02-MAY-19 | 209 | 298.4419 | 85.6034 | 1.5111 | 211.3274 | 70.8102 | 30.3226 | 26.7273 | 0.19997 | 3.3954 | 11.1975 | 1.2412 | 20.2595 | 0.049867 | -19.0681 | -1536.2014 | 29.0814 | 6.4678 | 0.15011 | 22.4635 | 77.2434 | 0.013792 | 0.013792 | 0.007052 | -0.007052 | -51.1321 | 0.053264 | 0.053264 | 2.7553 | -2.7553 | -5172.8898 | 30.3897 | 26.7943 | 2.9623 | 0.63301 | 2.083 | 3.9758 | 4.6987 | 0.54401 | -1.2669 | -31.8648 | 3.7142 | 3.6429 | 0.35109 | -0.27975 | -7.5319 | 0.26157 | 1.0558 | 0.19292 | -0.98713 | -377.3928
16-MAY-19 | 223 | 298.4419 | 109.3821 | 4.2413 | 184.8186 | 61.9278 | 30.3226 | 28.4869 | 0.2438 | 1.5919 | 5.2499 | 1.2412 | 13.9819 | 0.089157 | -12.8298 | -1033.6196 | 29.0814 | 14.505 | 0.15464 | 14.4217 | 49.5909 | 0.013792 | 0.013792 | 0.0014608 | -0.0014608 | -10.5917 | 0.053264 | 0.053264 | 1.7025 | -1.7025 | -3196.4109 | 30.3897 | 28.554 | 1.9478 | -0.11209 | -0.36883 | 3.9758 | 2.1496 | 0.34202 | 1.4842 | 37.3305 | 3.7142 | 3.6429 | 0.31734 | -0.246 | -6.6232 | 0.26157 | -1.4933 | 0.024682 | 1.7302 | 661.4729
23-MAY-19 | 230 | 298.4419 | 59.1995 | 2.1911 | 237.0513 | 79.4296 | 30.3226 | 23.2461 | 0.98224 | 6.0943 | 20.0982 | 1.2412 | 19.1894 | 0.74549 | -18.6937 | -1506.037 | 29.0814 | 4.0566 | 0.23674 | 24.788 | 85.2366 | 0.013792 | 0.013792 | 0.17479 | -0.17479 | -1267.3466 | 0.053264 | 0.053264 | 0.34504 | -0.34504 | -647.7933 | 30.3897 | 23.3131 | 1.5021 | 5.5745 | 18.3433 | 3.9758 | 3.6334 | 0.20753 | 0.13488 | 3.3926 | 3.7142 | 3.6429 | 0.20703 | -0.13569 | -3.6532 | 0.26157 | -0.0095115 | 0.00050371 | 0.27057 | 103.4438